# TAXT523

Data Sheet:   (sheet 1 of 1)   20/01/15

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for TAXT523 is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

70 EDGINGS/COVER STRIPS / 740 EDGINGS/COVER STRIPS

M51 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

510 EDGINGS/COVER STRIPS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, Sk11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: TAXT523

Material: Aluminium

Note: This profile uses TC3 clips which are supplied with welded corners but should be specified separately with stock lengths.

Fixing: Adhesive fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: TAXT523

Material: Aluminium

Gauge: 15mm

Note: This profile uses TC3 clips to provide an upstand of 15mm on the tread.  The clips slide on to the profile and remain in place after fixing.

Profile Height: 52mm

Fixing: Adhesive fix – as per manufacturers instructions

Site Join: Mitre

Description

Stair Trims – Welded Corners with Fixing Clips

Welded corners are designed to form a neat and attractive edge around the open end of a step by concealing the edge of the floorcovering and stair edging.  Welded corners are fabricated using a trimming strip of the correct gauge to suit the thickness of the floorcovering.

TAXT523 has been designed specifically to work with Gradus CXT3 stair edgings and, when supplied as a pre-welded corner, features a rounded radius to complement the curved design of the stair edging.