Data Sheet:   (sheet 1 of 1)   December 2008

# Stairtile

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for Stairtile is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

10 / 110 TILING

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: Stairtile

Material: Rubber Composite

Colour: Black (LRV: 3.70), Brown (LRV: 8.99), White (LRV: 58.38), Yellow (LRV: 44.92) (select as required)

Fixing: Mechanical (screw and adhesive fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: Stairtile

Material: Rubber Composite

Size: 
OTXXF – XX = width (available in widths from 12mm – 500mm) – rebated into existing steps 
OTXXD – XX = width (available in widths from 12mm – 500mm) – pre-cast into new steps
OTXXR – XX = width (available in widths from 12mm – 500mm) – can be rebated as a step edge
OTXXRDG – XX = width (available in widths from 12mm – 500mm) – pre-cast into new steps
Discs: available in 25mm, 38mm and 50mm – rebated into existing steps

Thickness:
6.5mm sanded – supplied to ready-prepared floor finishes (not available for OT/RDG profiles)
8.0mm unsanded – supplied where further site finishing is required
Colour: Black (LRV: 3.70), Brown (LRV: 8.99), White (LRV: 58.38), Yellow (LRV: 44.92) (select as required)

Fixing: Mechanical (screw and adhesive fix – as per manufacturers instructions

Description

Stairtile

Stairtile is a rubber composite material designed to provide a hardwearing slip-resistant finish for stairs and floors. It can be used as a complete stair covering or as an insert set into concrete, terrazzo, wood, stone and marble.  Stairtile is suitable for use in both internal and external applications.