WGR200E E-Fender

Data Sheet:   (sheet 1 of 1)   28/02/08

8

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for WGR200E E-Fender is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

P20 UNFRAMED ISOLATED TRIMS/SKIRTINGS/SUNDRY ITEMS

30 OTHER ITEMS / 170 OTHER ITEMS

Manufacturer: Gradus Wall Protection, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: WGR200E E-Fender

Colour: Black

Fixing: Mechanical (screw) fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Wall Protection, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: WGR200E E-Fender

Material: Heavy Duty Rubber

Height: 200mm

Depth: 30mm

Length: 3.0m

Colour: Black

Fixing: Mechanical (screw) fix – as per manufacturers instructions

Description

Gradus Heavy Duty Rubber E-Fenders have been developed to offer superior direct or indirect protection against severe damage caused by wheeled traffic.  Designed to absorb and deflect impact, the E-fender profiles can be installed onto practically any substrate, including concrete, brickwork and blockwork.  Suitable for both interior and exterior environments.