# SSHR42 Stainless Steel Handrail

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for SSHR42 Stainless Steel Handrail is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

P20 UNFRAMED ISOLATED TRIMS/SKIRTINGS/SUNDRY ITEMS

30 OTHER ITEMS / 170 OTHER ITEMS

Manufacturer: Gradus Wall Protection, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: SSHR42 Stainless Steel Handrail

Finish: Satin or Polished

Fixing: Mechanical (screw) fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Wall Protection, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference SSHR42 Stainless Steel Handrail

Material: Rail - 304 Grade Stainless Steel; Pillars – polished or satin finish

Diameter: Rail 42mm

Length: Supplied in lengths of 3.0m

Accessories: SSHR42/SBTKT Bracket, SSHR42/A90 Stainless Steel Inside/Outside Corner 90o Left/Right Return (includes two SSHR42/SPLICE), SSHR42/RET Wall Return (includes one SSHR42/SPLICE), SSHR42/EC Flat End Cap, SSHR42/SPLICE Liner Joint.

Finish: Satin or Polished

Fixing: Mechanical (screw) fix – as per manufacturers instructions

Description

The Gradus Stainless Steel Handrail System has been developed to provide the specifier with a clean, modern finish in environments such as Hospitality, Leisure, Commercial Office, Retail and Healthcare.  The hygienic nature of the handrail makes it ideal for use in environments such as food and pharmaceutical preparation and manufacturer.

With safety at the forefront of the design, the handrail meets guidelines in BS8300:2009+A1:2010 and Approved Document M (2004) of The Building Regulations 2010.

Data Sheet:   (sheet 1 of 1)   28/02/08

8

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com