# Stainless Steel SSWGA3 Wall Guard

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for Stainless Steel SSWGA3 Wall Guard is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

P20 UNFRAMED ISOLATED TRIMS/SKIRTINGS/SUNDRY ITEMS

30 OTHER ITEMS / 170 OTHER ITEMS

Manufacturer: Gradus Wall Protection, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: Stainless Steel SSWGA3 Wall Guard

Finish: Satin

Fixing: Mechanical (screw) fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Wall Protection, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: Stainless Steel SSWGA3 Wall Guard

Cover: 304 Grade Stainless Steel

Retainer: Aluminium Fixing Retainers - Continuous

Accessories: End Caps

Height: 152mm

Depth: 25mm

Length: supplied cut to size up to a maximum continuous length of 2.95m

Finish: Satin

Fixing: Mechanical (screw) fix – as per manufacturers instructions

Description

Gradus Stainless Steel Wall Guards are designed to protect walls from heavy to severe impact and abrasion.  Suitable for areas that are subject to high levels of heavy wheeled traffic, the hygienic nature of the wall guards also makes them ideal for use in environments such as kitchens and food preparation areas and pharmaceutical laboratories.

Data Sheet:   (sheet 1 of 1)   01/05/13

8

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com