Data Sheet:   (sheet 1 of 1)   December 2008

# Safety Track

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for Safety Track is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

P20 UNFRAMED ISOLATED TRIMS/SKIRTINGS/SUNDRY ITEMS

30 / 170 OTHER ITEMS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433949

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: Safety Track

Colour: Black (LRV: 4.58)

Fixing: Safety Track is bonded to a pre-applied Safety Track Primer, and should have the edges sealed with Safety Track Edge Sealant – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433949

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: Safety Track

Material: Silicone carbide resin carrier with a self adhesive backing

Roll Sizes:	25mm x 18m / 1” x 60’

51mm x 18m / 2” x 60’

102mm x 18m / 4” x 60’

153mm x 18m / 6” x 60’

305mm x 18m / 12” x 60’

609mm x 18m / 24” x 60’

Cleats: 		153mm x 609mm / 6” x 24”

Tiles: 		140mm x 140mm / 5½” x 5½”

Stair Treads: 	20mm x 609mm / ¾” x 24”

Colour: 		Black (LRV: 4.58)

Primer: 		One Litre Tin

Edge Fix Sealant: 	Tube (5oz)

Fixing: Safety Track is bonded to a pre-applied Safety Track Primer, and should have the edges sealed with Safety Track Edge Sealant – as per manufacturers instructions

Description

Safety Track

Safety Track is a heavy duty slip resistant surface finish that can be used on ramps, walkways or anywhere a risk of slip exists.  Suitable for interior or exterior use, Safety Track can be used on most substrates including concrete, stone, terrazzo and wood.  Safety Track consists of a silicone carbide resin carrier with a self adhesive backing and is available in rolls, cleats, tiles and stair treads.

A primer should be used to prepare the surface and where there is a danger of water penetration, a sealant is recommended.